Contents

1. Aims	3

2. Legislation	3

3. Roles and responsibilities	3

4. Site security	5

5. Fire	5

6. COSHH	6

7. Equipment	7

8. Lone working	8

9. Working at height	8

10. Manual handling	9

11. Off-site visits	9

12. Lettings	9

13. Violence at work	9

14. Smoking	10

15. Infection prevention and control	10

16. New and expectant mothers	11

17. Occupational stress	12

18. Accident reporting	12

19. Training	14

20. Monitoring	14

21. Links with other policies	14

Appendix 1. Fire safety checklist	15

Appendix 2. Accident report	Error! Bookmark not defined.

Appendix 3. Asbestos record	Error! Bookmark not defined.

Appendix 4. Recommended absence period for preventing the spread of infection	17

-----------------------------------------------------------------------------------------------------------------------------------------------

# 1. Aims

Our school aims to:

Provide and maintain a safe and healthy environment

Establish and maintain safe working procedures amongst staff, pupils and all visitors to the school site

Have robust procedures in place in case of emergencies

Ensure that the premises and equipment are maintained safely, and are regularly inspected

# 2. Legislation:

This policy is based on advice from the Department for Education on health and safety in schools and the following legislation:

The Health and Safety at Work etc. Act 1974, which sets out the general duties employers have towards employees and duties relating to lettings

The Management of Health and Safety at Work Regulations 1992, which require employers to make an assessment of the risks to the health and safety of their employees

The Management of Health and Safety at Work Regulations 1999, which require employers to carry out risk assessments, make arrangements to implement necessary measures, and arrange for appropriate information and training

The Control of Substances Hazardous to Health Regulations 2002, which require employers to control substances that are hazardous to health

The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations (RIDDOR) 2013, which state that some accidents must be reported to the Health and Safety Executive and set out the timeframe for this and how long records of such accidents must be kept

The Health and Safety (Display Screen Equipment) Regulations 1992, which require employers to carry out digital screen equipment assessments and states users’ entitlement to an eyesight test

The Gas Safety (Installation and Use) Regulations 1998, which require work on gas fittings to be carried out by someone on the Gas Safe Register

The Regulatory Reform (Fire Safety) Order 2005, which requires employers to take general fire precautions to ensure the safety of their staff

The Work at Height Regulations 2005, which requires employers to protect their staff from falls from height

The school follows national guidance published by Public Health England when responding to infection control issues.

# 3. Roles and responsibilities

3.1 The local authority and governing body

Ealing Local Authority has ultimate responsibility for health and safety matters in the school, but delegates responsibility for the strategic management of such matters to the school’s governing body.

The governing body delegates operational matters and day-to-day tasks to the Headteacher and staff members.

3.1 The governing body

The governing body has ultimate responsibility for health and safety matters in the school, but will delegate day-to-day responsibility to the Headteacher

The governing body has a duty to take reasonable steps to ensure that staff and pupils are not exposed to risks to their health and safety. This applies to activities on or off the school premises.

The governing body, as the employer, also has a duty to:

- Assess the risks to staff and others affected by school activities in order to identify and introduce the health and safety measures necessary to manage those risks

- Inform employees about risks and the measures in place to manage them

- Ensure that adequate health and safety training is provided

The governor who oversees health and safety is Bruce Emami.

3.2 Headteacher

The headteacher is responsible for health and safety day-to-day. This involves:

- Implementing the health and safety policy

- Ensuring there is enough staff to safely supervise pupils

- Ensuring that the school building and premises are safe and regularly inspected

- Providing adequate training for school staff

- Reporting to the governing body on health and safety matters

- Ensuring appropriate evacuation procedures are in place and regular fire drills are held

- Ensuring that in their absence, health and safety responsibilities are delegated to another member of staff

- Ensuring all risk assessments are completed and reviewed

- Monitoring cleaning, and ensuring cleaners are appropriately trained and have access to personal protective equipment, where necessary

In the headteacher’s absence, the Deputy Head teacher, Dawn Carmichael John assumes the above day-to-day health and safety responsibilities.

3.3 Health and safety lead

The nominated health and safety lead is David Shaw, Premises Manager on the Belvue and the site at the Ken Acock community centre.

3.4 Staff

School staff have a duty to take care of pupils in the same way that a prudent parent would do so.

Staff will:

- Take reasonable care of their own health and safety and that of others who may be affected by what they do at work

- Co-operate with the school on health and safety matters

- Work in accordance with training and instructions

- Inform the appropriate person of any work situation representing a serious and immediate danger so that remedial action can be taken

- Model safe and hygienic practice for pupils

- Understand emergency evacuation procedures and feel confident in implementing them

3.5 Pupils and parents

Pupils and parents are responsible for following the school’s health and safety advice, on-site and off-site, and for reporting any health and safety incidents to a member of staff.

3.6 Contractors

Contractors will agree health and safety practices with the Premises Manager, as delegated by the Headteacher, before starting work. Before work begins the contractor will provide evidence that they have completed an adequate risk assessment of all their planned work and DBS checks as required.

# 4. Site security

Dave Shaw, Premises Manager is responsible for the security of both the school and college sites in and out of school hours. The premises team are responsible for visual inspections of the site, and for the intruder and fire alarm systems. Out of hours key holding and security response is provided by Ealing FM, reports for any call outs are provide via email to the premises manager which can be reviewed to assess if any security changes are necessary.

Dave Shaw, Premises Manager, Shelagh O Shea, Headteacher on the Belvue site, and Dave Mitchell and Dave Shaw on the Ken Acock site are key holders and will respond to an emergency.

# 5. Fire

Emergency exits, assembly points and assembly point instructions are clearly identified by safety signs and notices. Fire risk assessment of the premises is reviewed annually and any necessary actions taken. Any events or items that pose an imminent risk to safety are addressed immediately.

Emergency evacuations are practised at least once a term.

The fire alarm is a loud continuous bell.

Fire alarm testing will take place once a week and is recorded in a log book.

New staff will be trained in fire safety and all staff and pupils will be made aware of any new fire risks.

In the event of a fire:

- The alarm will be raised immediately by whoever discovers the fire and emergency services contacted. Evacuation procedures will also begin immediately

- Fire extinguishers may be used by staff only, and only then if staff are trained in how to operate them and are confident they can use them without putting themselves or others at risk

- Staff and pupils will congregate at the assembly points. These are in the MUGA for all pupils and staff on the both sites.

- The Senior Administrator will bring out the register and signing out book to the assembly points. Vertical tutors or Post 16 tutors will check pupil present against the attendance register of that day

- The senior school administrator will take a register of all staff

- Staff and pupils will remain outside the building until the emergency services say it is safe to re-enter

The school will have special arrangements in place for the evacuation of people with mobility needs and fire risk assessments will also pay particular attention to those with disabilities.  Pupils with additional needs will have their personal emergency evacuations plan (PEEPs) written by the Premises Manager and distributed to key staff members.

A fire safety checklist can be found in Appendix 1. The fire risk assessment is audited annually by Ealing.

# 6. COSHH

Schools are required to control hazardous substances, which can take many forms, including:

Chemicals

Products containing chemicals

Fumes

Dusts

Vapours

Mists

Gases and asphyxiating gases

Germs that cause diseases, such as leptospirosis or legionnaires disease

COSHH assessments are compiled by the Premises Manager, Dave Shaw. These are available to anyone that will handle these chemicals in the course of their employment at Belvue.

Assessments for new chemicals are obtained from the Education Safety Office or the SYPOL online system.

The school only uses substances authorized by the LA.  All reps attempting to sell cleaning materials are refused.

The highest standards of safety regarding COSHH substances are implemented

The cupboard is locked in school hours.

Washing detergent is stored out of children’s reach.

All deliveries are locked away immediately by the Premises Manager.

No staff are allowed to store any chemical that is not used by the school.  The Premises Manager and cleaning staff are the only staff permitted to use cleaning chemicals.

Our staff use and store hazardous products in accordance with instructions on the product label. All hazardous products are kept in their original containers, with clear labelling and product information.

No pupil will have access to hazardous products.  All such products will be locked away with access only allowed by staff trained to use them

Any hazardous products are disposed of in accordance with specific disposal procedures.

Emergency procedures, including procedures for dealing with spillages, are displayed near where hazardous products are stored and in areas where they are routinely used.

6.1 Gas safety

Installation, maintenance and repair of gas appliances and fittings will be carried out by a competent Gas Safe registered engineer

Gas pipework, appliances and flues are regularly maintained

All rooms with gas appliances are checked to ensure that they have adequate ventilation

The gas is audited annually by Ealing and Gas Safety inspection certificate provided.

6.2 Legionella

A water risk assessment has been completed in August 2019 by H20. Dave Shaw, Premises Manager is responsible for ensuring that the identified operational controls are conducted and recorded in the school’s water log book

This risk assessment will be reviewed annually and when significant changes have occurred to the water system and/or building footprint

The risks from legionella are mitigated by the following: H20 nationwide carry out monthly tap temperature tests, if there is an issue, a report is sent to the Premises manager and work to disinfect any areas of concern is carried out by H20 immediately.  The Premises manager carries out a recorded flashing regime on a daily and weekly basis.

6.3 Asbestos

Staff are briefed on the hazards of asbestos, the location of any asbestos in the school and the action to take if they suspect they have disturbed it.

Arrangements are in place to ensure that contractors are made aware of any asbestos on the premises and that it is not disturbed by their work

Contractors will be advised that if they discover material which they suspect could be asbestos, they will stop work immediately until the area is declared safe

A record is kept of the location of asbestos that has been found on the school site

The asbestos register/survey is audited annually by Ealing.

# 7. Equipment

All equipment and machinery is maintained in accordance with the manufacturer’s instructions. In addition, maintenance schedules outline when extra checks should take place.

Playground and gymnasium equipment undergoes an annual safety inspection which is certificated.

When new equipment is purchased, it is checked to ensure that it meets appropriate educational standards

All equipment is stored in the appropriate storage containers and areas. All containers are labelled with the correct hazard sign and contents.

7.1 Electrical equipment

All staff are responsible for ensuring that they use and handle electrical equipment sensibly and safely

Any pupil or volunteer who handles electrical appliances does so under the supervision of the member of staff who so directs them

Any potential hazards will be reported Dave Shaw, Premises Manager immediately

Permanently installed electrical equipment is connected through a dedicated isolator switch and adequately earthed

Only trained staff members can check plugs

PAT tests are carried out annually at both sites and will cover all electrical devices

All isolators’ switches are clearly marked to identify their machine

Electrical apparatus and connections will not be touched by wet hands and will only be used in dry conditions

Maintenance, repair, installation and disconnection work associated with permanently installed or portable electrical equipment is only carried out by a competent person

7.2 PE equipment

Pupils are taught how to carry out and set up PE equipment safely and efficiently. Staff check that equipment is set up safely

Any concerns about the condition of the hall floor or other apparatus will be reported to Dave Shaw, Premises Manager.

7.3 Display screen equipment

All staff who use computers daily as a significant part of their normal work have a display screen equipment (DSE) assessment carried out. ‘Significant’ is taken to be continuous/near continuous spells of an hour or more at a time

Staff identified as DSE users are entitled to an eyesight test for DSE use upon request, and at regular intervals thereafter, by a qualified optician (and corrective glasses provided if required specifically for DSE use).

7.4 Specialist equipment

Parents are responsible for the maintenance and safety of their children’s wheelchairs. In school, staff promote the responsible use of wheelchairs.

8. Lone working

Lone working may include:

Late working

Home or site visits

Weekend working

Site manager duties

Site cleaning duties

Working in a single occupancy office

Potentially dangerous activities, such as those where there is a risk of falling from height, will not be undertaken when working alone. If there are any doubts about the task to be performed then the task will be postponed until other staff members are available.

If lone working is to be undertaken, a colleague, friend or family member will be informed about where the member of staff is and when they are likely to return.  After school hours the Premises Manager should be informed.  No staff member will be permitted to work in the school once the person responsible for the security of the site has locked and left the building.

The lone worker will ensure that they are medically fit to work alone. The premises manager Dave Shaw has completed a lone working CPD course and will risk assess any requests for lone working.

# 9. Working at height

We will ensure that work is properly planned, supervised and carried out by competent people with the skills, knowledge and experience to do the work.

In addition:

Dave Shaw, Premises Manager retains ladders for working at height. Lee Barton (Belvue) and Dave Mitchell (College site) are also able to use the ladders as long as another member of the premises team is there to foot them.

A roof access policy and log is also kept to ensure safe working poilicies.

Pupils are prohibited from using ladders

Staff will wear appropriate footwear and clothing when using ladders

Contractors are expected to provide their own ladders for working at height

Before using a ladder, staff are expected to conduct a visual inspection to ensure its safety

Access to high levels, such as roofs, is only permitted by trained persons in the premises team or external contractors and a harness must be worn and used in conjunction with the fall safe system on the roof.

# 10. Manual handling

It is up to individuals to determine whether they are fit to lift or move equipment and furniture. If an individual feels that to lift an item could result in injury or exacerbate an existing condition, they will ask for assistance.

The school will ensure that proper mechanical aids and lifting equipment are available in school, and that staff are trained in how to use them safely.

Staff and pupils are expected to use the following basic manual handling procedure:

- Plan the lift and assess the load. If it is awkward or heavy, use a mechanical aid, such as a trolley, or ask another person to help

- Take the more direct route that is clear from obstruction and is as flat as possible

- Ensure the area where you plan to offload the load is clear

- When lifting, bend your knees and keep your back straight, feet apart and angled out. Ensure the load is held close to the body and firmly. Lift smoothly and slowly and avoid twisting, stretching and reaching where practicable

# 11. Off-site visits

When taking pupils off the school premises, we will ensure that:

- Risk assessments will be completed for all off-site visits and activities.  Where a pupil with additional medical needs is attending, a suitably qualified member of staff will support the trip to administer medication e.g. diabetes and epilepsy

- All off-site visits are appropriately staffed

- Staff will take a school mobile phone, a portable first aid kit, information about the specific medical needs of pupils along with the parents’ contact details and reflective jackets to be worn by staff.

# 12. Lettings

This policy applies to lettings. Those who hire any aspect of the school site or any facilities will be made aware of the content of the school’s health and safety policy, and will have responsibility for complying with it.

Currently the schools insurance policy does not allow for lettings.

# 13. Violence at work

We believe that staff should not be in any danger at work, and will not tolerate violent or threatening behaviour towards our staff.

All staff will report any incidents of aggression or violence (or near misses) directed to themselves to their line manager/headteacher immediately. This applies to violence from pupils, visitors or other staff. Any such incident should also be recorded online via Ealing’s online reporting system, the link for which is sent out termly by the premises manager, David Shaw.

# 14. Smoking

Smoking or the use of electronic cigarettes is not permitted anywhere on the school premises.

# 15. Infection prevention and control

We follow national guidance published by Public Health England (PHE) when responding to infection control issues. We will encourage staff and pupils to follow this good hygiene practice, outlined below, where applicable. Some amendments have been made to the way in which we conduct infection prevention and control, please see attached COVID 19 risk assessment.

The Covid 19 risk assessment is now redundant and is no longer implemented, it remains attached for historical reference.

15.1 Handwashing

- Wash hands with liquid soap and warm water, and dry with paper towels

- Always wash hands after using the toilet, before eating or handling food, and after handling animals

- Cover all cuts and abrasions with waterproof dressings

15.2 Coughing and sneezing

- Cover mouth and nose with a tissue

- Wash hands after using or disposing of tissues

- Spitting is discouraged

15.3 Personal protective equipment

- Wear disposable non-powdered vinyl or latex-free CE-marked gloves and disposable plastic aprons where there is a risk of splashing or contamination with blood/body fluids (for example, nappy or pad changing)

- Wear goggles, mask and/or visor if there is a risk of splashing to the face

- Use the correct personal protective equipment when handling cleaning chemicals

15.4 Cleaning of the environment

- Clean the environment, including toys and equipment, frequently and thoroughly

15.5 Cleaning of blood and body fluid spillages

- Clean up all spillages of blood, faeces, saliva, vomit, nasal and eye discharges immediately and wear personal protective equipment

- When spillages occur, clean using a product that combines both a detergent and a disinfectant and use as per manufacturer’s instructions. Ensure it is effective against bacteria and viruses and suitable for use on the affected surface

- Never use mops for cleaning up blood and body fluid spillages – use disposable paper towels and discard clinical waste as described below

- Make spillage kits available for blood spills

15.6 Laundry

- Wash laundry in a separate dedicated facility

- Premises items are washed in a dedicated machine

- School uniform, swimming and PE kit are washed in a different, dedicated machine

- Wash soiled linen separately and at the hottest wash the fabric will tolerate

- Wear personal protective clothing when handling soiled linen

- Bag children’s soiled clothing to be sent home, never rinse by hand

15.7 Clinical waste

- Always segregate domestic and clinical waste, in accordance with local policy

- Used nappies/pads, gloves, aprons and soiled dressings are stored in correct clinical waste bags in foot-operated bins

- Remove clinical waste with a registered waste contractor

- Remove all clinical waste bags when they are two-thirds full and store in a dedicated, secure area while awaiting collection

15.8 Animals

- Wash hands before and after handling any animals

- Keep animals’ living quarters clean and away from food areas

- Dispose of animal waste regularly, and keep litter boxes away from pupils

- Supervise pupils when playing with animals

- Seek veterinary advice on animal welfare and animal health issues, and the suitability of the animal as a pet

15.9 Pupils vulnerable to infection

Some medical conditions make pupils vulnerable to infections that would rarely be serious in most children. The school will normally have been made aware of such vulnerable children. These children are particularly vulnerable to chickenpox, measles or slapped cheek disease (parvovirus B19) and, if exposed to either of these, the parent/carer will be informed promptly and further medical advice sought. Advise these children to have additional immunisations, for example for pneumococcal and influenza.

Please refer to attached COVID 19 risk assessment for details relating to corona virus.

15.10 Exclusion periods for infectious diseases

The school will follow recommended exclusion periods outlined by Public Health England, summarised in appendix 3.

In the event of an epidemic/pandemic, we will follow advice from Public Health England about the appropriate course of action.

Please see attached COVID-19 risk assessment for more detail.

# 16. New and expectant mothers

Risk assessments will be carried out whenever any employee or pupil notifies the school that they are pregnant.

Appropriate measures will be put in place to control risks identified. Some specific risks are summarised below:

- Chickenpox can affect the pregnancy if a woman has not already had the infection. Expectant mothers should report exposure to antenatal carer and GP at any stage of exposure. Shingles is caused by the same virus as chickenpox, so anyone who has not had chickenpox is potentially vulnerable to the infection if they have close contact with a case of shingles

- If a pregnant woman comes into contact with measles or German measles (rubella), she should inform her antenatal carer and GP immediately to ensure investigation

- Slapped cheek disease (parvovirus B19) can occasionally affect an unborn child. If exposed early in pregnancy (before 20 weeks), the pregnant woman should inform her antenatal care and GP as this must be investigated promptly

# 17. Occupational stress

We are committed to promoting high levels of health and wellbeing and recognise the importance of identifying and reducing workplace stressors through risk assessment.

Systems are in place within the school for responding to individual concerns and monitoring staff workloads. Individual staff members can be referred to Occupational Health for support with stress with their consent by their line manager.

The school subscribes to an employee support service called Workplace Options. They operate a 24 hour helpline providing practical information, resources and counselling on a whole range of work, family and personal issues, for example work-life balance, child care, relationships, health and well-being, debt, disability and illness, careers, bereavement and loss, stress, elder care, life events, immigration, anxiety and depression, family issues, bullying and harassment, education, consumer rights and workplace pressure.  There is no limit to the number of issues you can call for support with. Employees and immediate family can ring the free helpline on 0800 243458 or email: assistance@workplaceoptions.com

# 18. Accident reporting

18.1 Minor accidents recorded on SIMs

An accident record will be completed as soon as possible after the accident - an unplanned event that results in injury - occurs by the member of staff or first aider who deals with it. For example, an injury that requires only first aid and does not result in any absence or inability to carry out normal duties for instance, an accident attributed to the exuberance of children which does not result in significant injury.

This information must be uploaded to the pupil or staffs record on SIMs and training will be provided to all staff on this procedure. As much detail as possible must be supplied when reporting an accident. Accident records held on SIMs be retained by the school for a minimum of 3 years, in accordance with regulation 25 of the Social Security (Claims and Payments) Regulations 1979, and then securely disposed.

The reporting system for Belvue during the school day also utilizes Ealing Council’s online portal and is as follows:

(Staff accidents that require minor first aid are also to be recorded in the first aid book).

*   Minor- no treatment: These are occurrences where there has been an accident but no first aid or assistance was given.

Note in the first aid book

*   Minor- first aid: These are accidents where some form of first aid was administered. For example, a pupil may have been playing on a climbing frame, fell after losing her grip and grazed her knee on the ground.  –

Note in the first aid book and home/school diary

•        Major-hospital/time lost: These are more serious accidents where hospital treatment or offsite medical attention is given. These may involve time off work/school. For example, a child may have been playing on a climbing frame, fell after losing her grip and fractured her ankle as a result.

Record online.

*   Fatality: These need to be reported to the Health and safety Executive. Ealing Council will do this for schools who use the online accident reporting system.

If staff do need to report an incident online then are to use the following link:

https://ealing.info-exchange.com/SchoolIncidents

If an employee has been affected by the accident/incident personally then they can seek advice and help by following the link below:

http://inside.ealing.gov.uk/info/20035/occupational_health/64/24-hour_employee_helpline_service

18.2 Reporting to the Health and Safety Executive

The following reportable injuries must be reported to the Health and Safety Executive by completing the Ealing on line form found at: Https://ealing.info-exchange.com/SchoolIncidents.

Reportable injuries, diseases or dangerous occurrences include:

- Death

Specified injuries.  These are:

- Fractures, other than to fingers, thumbs and toes

- Amputations

- Any injury likely to lead to permanent loss of sight or reduction in sight

- Any crush injury to the head or torso causing damage to the brain or internal organs

- Serious burns (including scalding)

- Any scalping requiring hospital treatment

- Any loss of consciousness caused by head injury or asphyxia

- Any other injury arising from working in an enclosed space which leads to hypothermia or heat-induced illness, or requires resuscitation or admittance to hospital for more than 24 hours

- Injuries where an employee is away from work or unable to perform their normal work duties for more than 7 consecutive days

- Where an accident leads to someone being taken to hospital

- Where something happens that does not result in an injury, but could have done

- Near-miss events that do not result in an injury, but could have done. Examples of near-miss events relevant to schools include, but are not limited to:

  - The collapse or failure of load-bearing parts of lifts and lifting equipment

  - The accidental release of a biological agent likely to cause severe human illness

  - The accidental release or escape of any substance that may cause a serious injury or damage to health

  - An electrical short circuit or overload causing a fire or explosion

Dave Shaw, Premises Manager will report these, or ensure that the affected member of staff has, to the Health and Safety Executive as soon as is reasonably practicable and in any event within 10 days of the incident.

Dave Shaw, Premises Manager will investigate and will keep a record of any accident which results in a reportable injury, disease, or dangerous occurrence as defined in the RIDDOR 2013 legislation (regulations 4, 5, 6 and 7)

18.3 Notifying parents

The vertical tutor or school administrator will inform parents of any accident or injury sustained by a pupil, and any first aid treatment given, on the same day, or as soon as reasonably practicable.

18.4 Reporting to Ofsted and child protection agencies

The Headteacher will notify Ofsted of any serious accident, illness or injury to, or death of, a pupil while in the school’s care. This will happen as soon as is reasonably practicable, and no later than 14 days after the incident.

The Headteacher will also notify Ealing Safeguarding Chair of any serious accident or injury to, or the death of, a pupil while in the school’s care.

# 19. Training

The Ealing Education Service and the London Borough of Ealing provide a range of professional advice, information and training in support of health and safety issues.  The Headteacher will make available such advice, information and training to appropriate employees. The head will make available to all employees the pamphlet ‘Health and Safety Law: what you should know’ published by the Health and Safety Executive. The head teacher undertakes to make such advice and information available to all appropriate employees. The head teacher will also ensure that all employees receive appropriate health and safety training.

Our staff are provided with health and safety training as part of their induction process.

Staff who work in high risk environments, such as in science labs or with woodwork equipment, or work with pupils with special educational needs (SEN), are given additional health and safety training.

20. Maintenance of school vehicle

Belvue  School has three mini-buses.  These are maintained by the Premises Managers who ensures that the vehicles are routinely serviced, MOT and insurance kept up to date.

21. Building Maintenance

The Premises Manager Belvue develops and maintains a premises plan to ensure that the building and exterior areas are kept to a high standard of repair. Inspections of the site are conducted on a regular basis.  If an area is unsafe, it is immediately sectioned off and reported to the Head teacher. The school uses Approved Contractors as laid down by the LA.  The maintenance contractor the school currently uses is Ealing FM.

Under the contract with Ealing FM the following are tested annually:

- Fire Alarm system and control panel

- Intruder Alarm System and control panel

- Lifts (twice yearly)

- Emergency lighting including full annual drain down test

- Fire-fighting equipment

- Boiler room settings and gas Safety cretification

- Automated gates to the site

- 20% of the sites electrical installation

- PAT testing to small electrical appliances

Gas appliances are tested annually by recommended contractors

22. Ethical and environmentally friendly products

The school ensure that it sources and purchase environmentally friendly products to raise awareness with pupils and staff about the importance of maintaining an eco-friendly environment.

22. Monitoring

This policy will be reviewed by the Headteacher and Premises Manager every two years.

At every review, the policy will be approved by the Governing Body of Belvue School.

# 23. Links with other policies

This health and safety policy links to the following policies:

- First aid

- Risk assessment

- Supporting pupils with medical conditions

- Accessibility plan

- Positive Handling Policy

# Appendix 1. Fire safety checklist

| Issue to check | Yes/No |
| --- | --- |
| Are fire regulations prominently displayed? | Yes. |
| Is fire-fighting equipment, including fire blankets, in place? | Yes. |
| Does fire-fighting equipment give details for the type of fire it should be used for? | Yes. |
| Are fire exits clearly labelled? | Yes. |
| Are fire doors fitted with self-closing mechanisms? | Yes. |
| Are flammable materials stored away from open flames? | Yes. |
| Do all staff and pupils understand what to do in the event of a fire? | Yes. |
| Can you easily hear the fire alarm from all areas? | Yes. |

# Appendix 3. Recommended absence period for preventing the spread of infection

This list of recommended absence periods for preventing the spread of infection is taken from non-statutory guidance for schools and other childcare settings from Public Health England (PHE).

Rashes and skin infections

| Infection or complaint | Recommended period to be kept away from school or nursery | Comments |
| --- | --- | --- |
| Athlete’s foot | None | Athlete’s foot is not a serious condition. Treatment is recommended. |
| Chickenpox | Until all vesicles have crusted over | Some medical conditions make children vulnerable to infections that would rarely be serious in most children, these include those being treated for leukaemia or other cancers. These children are particularly vulnerable to chickenpox. Chickenpox can also affect pregnancy if a woman has not already had the infection. |
| Cold sores (herpes simplex) | None | Avoid kissing and contact with the sores. Cold sores are generally mild and self-limiting. |
| German measles (rubella)* | Four days from onset of rash (as per “Green Book”) | Preventable by immunisation (MMR x2 doses). If a pregnant woman comes into contact with German measles she should inform her GP and antenatal carer immediately to ensure investigation. |
| Hand, foot and mouth | None |  |
| Impetigo | Until lesions are crusted and healed, or 48 hours after starting antibiotic treatment | Antibiotic treatment speeds healing and reduces the infectious period. |
| Measles* | Four days from onset of rash | Preventable by immunisation (MMR x2 doses). Some medical conditions make children vulnerable to infections that would rarely be serious in most children, these include those being treated for leukaemia or other cancers. These children are particularly vulnerable to measles. Measles during pregnancy can result in early delivery or even loss of the baby. If a pregnant woman is exposed she should immediately inform whoever is giving antenatal care to ensure investigation. |
| Molluscum contagiosum | None | A self-limiting condition. |
| Ringworm | Exclusion not usually required | Treatment is required. |
| Roseola (infantum) | None |  |
| Scabies | Child can return after first treatment | Household and close contacts require treatment. |
| Scarlet fever* | Child can return 24 hours after starting appropriate antibiotic treatment | Antibiotic treatment is recommended for the affected child. |
| Slapped cheek syndrome/fifth disease (parvovirus B19) | None (once rash has developed) | Some medical conditions make children vulnerable to infections that would rarely be serious in most children, these include those being treated for leukaemia or other cancers. These children are particularly vulnerable to parvovirus B19. Slapped cheek disease (parvovirus B19) can occasionally affect an unborn child. If exposed early in pregnancy (before 20 weeks), inform whoever is giving antenatal care as this must be investigated promptly. |
| Shingles | Exclude only if rash is weeping and cannot be covered | Can cause chickenpox in those who are not immune, i.e. have not had chickenpox. It is spread by very close contact and touch. If further information is required, contact your local PHE centre. Some medical conditions make children vulnerable to infections that would rarely be serious in most children, these include those being treated for leukaemia or other cancers. These children are particularly vulnerable to shingles. Shingles can also affect pregnancy if a woman has not already had chickenpox. |
| Warts and verrucae | None | Verrucae should be covered in swimming pools, gymnasiums and changing rooms. |

Diarrhoea and vomiting illness

| Infection or complaint | Recommended period to be kept away from school or nursery | Comments |
| --- | --- | --- |
| Diarrhoea and/or vomiting | 48 hours from last episode of diarrhoea or vomiting |  |
| E. coli O157 VTEC Typhoid* [and paratyphoid*] (enteric fever) Shigella (dysentery) | Should be excluded for 48 hours from the last episode of diarrhoea. Further exclusion may be required for some children until they are no longer excreting | Further exclusion is required for children aged 5 years or younger and those who have difficulty in adhering to hygiene practices. Children in these categories should be excluded until there is evidence of microbiological clearance. This guidance may also apply to some contacts who may also require microbiological clearance. Please consult your local PHE centre for further advice |
| Cryptosporidiosis | Exclude for 48 hours from the last episode of diarrhoea | Exclusion from swimming is advisable for two weeks after the diarrhoea has settled |

Respiratory infections

| Infection or complaint | Recommended period to be kept away from school or nursery | Comments |
| --- | --- | --- |
| Flu (influenza) | Until recovered | Some medical conditions make children vulnerable to infections that would rarely be serious in most children, these include those being treated for leukaemia or other cancers. It may be advisable for these children to have additional immunisations, for example pneumococcal and influenza. |
| Tuberculosis* | Always consult your local PHE centre | Some medical conditions make children vulnerable to infections that would rarely be serious in most children, these include those being treated for leukaemia or other cancers. It may be advisable for these children to have additional immunisations, for example pneumococcal and influenza. |
| Whooping cough* | Five days from starting antibiotic treatment, or 21 days from onset of illness if no antibiotic treatment | Preventable by vaccination. After treatment, non-infectious coughing may continue for many weeks. Your local PHE centre will organise any contact tracing necessary. |
| COVID-19 | 14 days | Please refer to separate risk assessment for details. |

Other infections

| Infection or complaint | Recommended period to be kept away from school or nursery | Comments |
| --- | --- | --- |
| Conjunctivitis | None | If an outbreak/cluster occurs, consult your local PHE centre. |
| Diphtheria* | Exclusion is essential. Always consult with your local HPT | Family contacts must be excluded until cleared to return by your local PHE centre. Preventable by vaccination. Your local PHE centre will organise any contact tracing necessary. |
| Glandular fever | None |  |
| Head lice | None | Treatment is recommended only in cases where live lice have been seen. |
| Hepatitis A* | Exclude until seven days after onset of jaundice (or seven days after symptom onset if no jaundice) | In an outbreak of hepatitis A, your local PHE centre will advise on control measures. |
| Hepatitis B*, C*, HIV/AIDS | None | Hepatitis B and C and HIV are bloodborne viruses that are not infectious through casual contact. All spillages of blood should be cleaned up immediately (always wear PPE). When spillages occur, clean using a product that combines both a detergent and a disinfectant. Use as per manufacturer’s instructions and ensure it is effective against bacteria and viruses and suitable for use on the affected surface. Never use mops for cleaning up blood and body fluid spillages – use disposable paper towels and discard clinical waste as described below. A spillage kit should be available for blood spills. |
| Meningococcal meningitis*/ septicaemia* | Until recovered | Meningitis C is preventable by vaccination There is no reason to exclude siblings or other close contacts of a case. In case of an outbreak, it may be necessary to provide antibiotics with or without meningococcal vaccination to close school contacts. Your local PHE centre will advise on any action is needed. |
| Meningitis* due to other bacteria | Until recovered | Hib and pneumococcal meningitis are preventable by vaccination. There is no reason to exclude siblings or other close contacts of a case. Your local PHE centre will give advice on any action needed. |
| Meningitis viral* | None | Milder illness. There is no reason to exclude siblings and other close contacts of a case. Contact tracing is not required. |
| MRSA | None | Good hygiene, in particular handwashing and environmental cleaning, are important to minimise any danger of spread. If further information is required, contact your local PHE centre. |
| Mumps* | Exclude child for five days after onset of swelling | Preventable by vaccination |
| Threadworms | None | Treatment is recommended for the child and household contacts. |
| Tonsillitis | None | There are many causes, but most cases are due to viruses and do not need an antibiotic. |

* denotes a notifiable disease. It is a statutory requirement that doctors report a notifiable disease to the proper officer of the local authority (usually a consultant in communicable disease control). In addition, organisations may be required via locally agreed arrangements to inform their local PHE centre. Regulating bodies (for example, Ofsted/Commission for Social Care Inspection (CSCI)) may wish to be informed.

# Text boxes

Health and Safety policy

Belvue School

| Approved by: | Governing Body of Belvue School | Date: Dec 2016 |
| --- | --- | --- |
| Last reviewed on: | March 2023 |
| Next review due by: | March 2024 |